## Slide 1
Click on “Generate new target” button to display a target point on the ultrasound image.
OUT-OF-PLANE NEEDLE INSERTION
Target point

## Slide 2
Click on the “Start” button to start recording tracking and imaging data.
OUT-OF-PLANE NEEDLE INSERTION

## Slide 3
Insert the needle and reach the target point displayed in the image.
OUT-OF-PLANE NEEDLE INSERTION

## Slide 4
The needle should intersect the ultrasound plane as close as possible to the target point in the image.
OUT-OF-PLANE NEEDLE INSERTION
Insert the needle and reach the target point displayed in the image.

## Slide 5
Click on the “Stop” button to stop the recording.
Click on the “Save” button to save the recording.
Extract the needle following the insertion trajectory.
OUT-OF-PLANE NEEDLE INSERTION